## Slide 1: Addressing Business Impact Analysis and Business Continuity
Security Planning Susan Lincke
Notes: 1
This covers most of the CISA Chapter on Business Continuity and Disaster Recovery.

## Slide 2
Objectives:
The Student shall be able to
Define: Business Continuity Plan (BCP), Business Impact Analysis (BIA), Disaster Recovery Plan (DRP)
Discuss advantages and disadvantages of :Hot site, warm site, cold site, reciprocal agreement, mobile site
Define Interruption window, Maximum tolerable outage, Service delivery objective
Define and appropriate select a: Recovery point objective (RPO), Recovery time objective (RTO)
Define Desk based or paper test, preparedness test, fully operational test, and tests: checklist, structured walkthrough, simulation test, parallel test, full interruption, pretest, post-test
Define: diverse routing, alternative routing, RAID
Define: Incremental backup, differential backup
Define cloud computing, Infrastructure as a Service, Platform as Service, Software as a Service, Private cloud, Community cloud, Public cloud, Hybrid cloud.
Notes: MINOR CHANGES TYPED FULL NAME INSTEAD OF ABBREVIATION (MEGAN)

## Slide 3: Imagine a company…
Bank with 1 Million accounts, social security numbers, credit cards, loans…
Airline serving 50,000 people on 250 flights daily…
Pharmacy system filling 5 million prescriptions per year, some of the prescriptions are life-saving…
Factory with 200 employees producing 200,000 products per day using robots…

## Slide 4
Imagine a system failure…
Server failure
Disk System failure
Hacker break-in
Denial of Service attack
Extended power failure
Network failure
Snow storm
Spyware
Malevolent virus or worm
Earthquake, tornado
Employee error or revenge
How will this affect each business?
Notes: Different companies will react in different ways to problems. A bank may want to bring down a network as fast as possible if an intruder penetrates their network. A pharmacy may want to leave their network up as much as possible but doublecheck integrity – or decide to bring down a partial network.
4

## Slide 5
First Stage: Business Impact Analysis
Which business processes are of strategic importance?
What disasters could occur?
What impact would they have on the organization financially? Legally? On human life? On reputation?
What is the required recovery time period?
Answers obtained via questionnaire, interviews, or meeting with key users of IT
Step 4: Preparing for IT Disaster Recovery
Step 1: Define Threats Resulting in Business Disruption (BIA)
Step 3: Plan for IT Recovery (Business Continuity)
Step 2: Define Recovery Objectives (BIA)

## Slide 6
Which business processes are of strategic importance?
Event Damage Classification
Event Damage Classification | Actions
Crisis Has a major material or financial impact on the business | Alert senior management (and regulatory agencies if appropriate)
Major Impacts one or more departments and may impact outside clients | Alert senior management
Minor A non-negligible event with no material or financial impact on the business | Correct and log
Negligible No significant cost or damage (e.g.,: short term operating system crash) | Log

## Slide 7: Determine Criticality of Business Processes
Corporate
Sales (1)
Web Service (1)
Product A (1)
Product B (2)
Product C (3)
Sales Calls (2)
Orders (1)
Inventory (2)
Shipping (2)
Engineering (3)
Product A (1)
Product B (2)
Notes: 7
We may decide that the Sales function is most critical (or perhaps not), and so Sales is number 1. If we don’t have sales, we don’t ship. Engineers can work at home on their projects. While their work is critical to backup, if they lose a week, it may mean ½ week lost productivity, resulting in lost salary.
Within Sales, the web service is 50% of sales, and cannot be done manually, so it is rated number 1. The Sales calls can be done manually at home or most of our sales people are on the road anyway.

## Slide 8: What system failures could occur?
Business Continuity Issues
Server failure
Disk System failure
Extended power failure
Network failure
Which devices may fail?
Snow storm, flood
Earthquake, tornado
Fire
How will this affect each business?
Incident Response Issues
Spyware
Malevolent virus or worm
Hacker break-in
Denial of Service attack
Employee error or revenge
Ransomware
How do we respond?
Notes: Different companies will react in different ways to problems. A bank may want to bring down a network as fast as possible if an intruder penetrates their network. A pharmacy may want to leave their network up as much as possible but doublecheck integrity – or decide to bring down a partial network.
8

## Slide 9: What system failures could occur?
Network
Network failure
Border Router/Firewall failure
Server
Server failure
File system failure
Software
Database failure
Application failure (e.g., excessive)
What critical services might these failures impact?

## Slide 10: What impact would they have on the organization financially? Legally? On human life? On reputation? Workbook: Disasters and Impact
Problematic Event or Incident | Affected Business Process(es) | Impact Classification & Effect on finances, legal liability, human life, reputation
Fire | Class rooms, business departments | Crisis. At times: Major. Human life
Hacking Intrusion | Registration, advising, | Major, Legal/liability: FERPA, PCI DSS
Network Unavailable | Registration, advising, classes | Crisis during school year
Social engineering, Fraud | Registration | Major, Legal liability: FERPA, PCI DSS
Server Failure (Disk/server) | Registration, advising, classes | Major. At times Crisis
Loss of cloud | Learning management | Crisis during school year; major at other times
Server Room flood or fire | Classes, Registration | Crisis, but applications are prioritized by month
Power Failure | Classes, All business processes | Crisis during school year. Major at other times.

## Slide 11: Review: Business Continuity Recovery Terms
Interruption Window: Time duration organization can wait between point of failure and Alternate Mode startup.
Service Delivery Objective (SDO): Level of service in Alternate Mode
Maximum Tolerable Outage: Max time allowed for downtime and time in Alternate Mode
Regular Service
Alternate Mode
Regular
Service
(Acceptable)
Interruption
Window
Maximum Tolerable Outage
Service
Delivery
Objective
Interruption
Time…
Disaster
Recovery
Plan Implemented
Restoration
Plan Implemented
Notes: The interruption window is the time between failure and restoration of a minimal level of critical services – the minimum needed to carry on. The MTO is the acceptable time between failure and return to full operations.
Recovery time objective (RTO) is the maximum time between an incident and alternate mode becoming available; that is, the length of the acceptable interruption window.

## Slide 12
Definitions
Business Continuity: Offer critical business services in event of disruption
Business Continuity Plan: Describes systems covered, personnel responsibility, contact information, transportation plan, evaluation plan, and emergency relocation plan
Disaster Recovery: Survive interruption to computer information systems
Alternate Process Mode: Service offered by backup system
Disaster Recovery Plan (DRP): How to transition to Alternate Process Mode
Restoration Plan: How to return to regular system mode

## Slide 13
Criticality Classification (for Services)
Critical $$$$: Cannot be performed manually. Tolerance to interruption is very low
Vital $$: Can be performed manually for very short time
Sensitive $: Can be performed manually for a period of time, but may cost more in staff
Nonsensitive ¢: Can be performed manually for an extended period of time with little additional cost and minimal recovery effort
Notes: 13
It is a good idea to classify business processes. Upper management should do this.
13

## Slide 14: RPO and RTO
One
Week
One
Day
One
Hour
One
Hour
One One
Day Week
Recovery Point Objective
Recovery Time Objective
Measures lost or ‘orphan’ data from before the interruption
Measures lost processing time after the interruption
Interruption

## Slide 15: Recovery Point Objective (RPO)
Problems
Losses can occur due to:
Disk failure, damage, theft, loss, fire, flood, earthquake
Devices can include: disk, memory stick, laptop, computer
Assumption: No recent backup
Scenarios
Lost sales: Customer paid but before delivery, transaction was lost
Lost transaction: Deposit was made to bank but then forgotten
Lost treatment: Doctor treated patients, prescribing medications, but lost electronic records

## Slide 16
Recovery Point Objective
Mirroring
Replication
Tape Backup
Orphan Data: Completed transactions which are lost
and never recovered due to lack of backup.
RPO influences the Backup Period
Disk Backup
Delayed replication
Notes: The interruption (red thing) is far to the right. If we want a short RPO, then RAID or disk mirroring is the best option. Otherwise we may want to save off a disk image. A slower recovery would involve tape.
16

## Slide 17: Business Impact Analysis Summary
Work Book
Partial BIA for a university
Business Process | Recovery Point Objective (Hours) | Recovery Time Objective (Hours) | Critical Resources (Computer, people, peripherals) | Special Notes (Unusual treatment at Specific times, unusual risk conditions)
Registration | 0 hours | 4 hours | Registration DB, network Registrar | High priority during Nov-Jan, March-June, August.
Personnel | 2 hours | 48 hours | Personnel DB | Can operate manually for two days with loss of capability
Teaching | 1 day | 1 hour | Learning management, network, faculty files | During school semester: high priority
University Web pages | 1 week | 1 hour | Web server | Always critical RTO

## Slide 18: Second Stage: Business Continuity: Surviving Disasters using Recovery
Disk Failure Survival
Network Failure Survival
System Survival
Step 4: Preparing for IT Disaster Recovery
Step 1: Define Threats Resulting in Business Disruption (BIA)
Step 3: Plan for IT Recovery (Business Continuity)
Step 2: Define Recovery Objectives (BIA)

## Slide 19: Recovery Techniques
Mirror Site: High availability using a remote site provides redundancy and continual transaction backup.
Hot Site: The backup site is fully configured with equipment and networks. Software needs to be reloaded, but can be operational in hours.
Warm Site: The backup site usually has network and disk drives, but may lack sufficient servers for immediate use.
Cold Site: This backup site has electrical wiring and air conditioning, but no IT network or other equipment. It may take weeks to fully configure.

## Slide 20
Disruption vs. Recovery Costs
Cost
Time
Service Downtime
Alternative Recovery Strategies
Minimum Cost
* Hot Site
* Warm Site
* Cold Site
Notes: There is a curve showing the cost of having a system down, and another curve showing the cost of bringing an alternative system up quickly. The least cost is the cross-point of these two curves.
20

## Slide 21
Alternative Recovery Sites
External Solutions:
Cloud Services: can be configured to:
host data with redundancy as a recovery or mirrored site OR
serve as a backup or mirror site if data is hosted internally.
Reciprocal Agreement with another organization or division
Mobile Site: Fully- or partially-configured trailer comes to your site, with microwave or satellite communications
Internal solution:
Duplicate or Redundant Info. Processing Facility: Standby hot site within the organization
Notes: Hot, warm, cold, and mobile sites can be rented from special companies. Contracts must be carefully looked over. A duplicate info processing facility can be a computer system in another division of the company.
21

## Slide 22
Hot Site
Contractual costs include: basic subscription, monthly fee, testing charges, activation costs, and hourly/daily use charges
Contractual issues include: other subscriber access, speed of access, configurations, staff assistance, audit & test
Hot site is for emergency use – not long term
May offer warm or cold site for extended durations

## Slide 23
Reciprocal Agreements
Advantage: Low cost
Problems may include:
  Quick access
  Compatibility (computer, software, …)
  Resource availability: computer, network, staff
  Priority of visitor
  Security (less a problem if same organization)
  Testing required
  Susceptibility to same disasters
  Length of welcomed stay

## Slide 24: Options for High Availability

## Slide 25: Processing Redundancy: Clusters
Cluster: A set of servers running a similar software agent to survive one (or potentially more) failures
Used in processing, file systems and networks
Active-Passive Cluster
Standby configuration: Passive takes over if active processor fails
Flexible location: May be geographically distributed or local
      Flexible storage: May use shared or replicated storage
Active-Active Cluster
Load sharing: Two or more processors share work
Application recovery: Partial transactions completed by another node
Scalable: Two to many servers possible
Shared storage required
Metro-clusters: span a city
Geo-clusters: span the earth

## Slide 26: High Availability File Server Solutions
RAID: Local disk redundancy
Fault-Tolerant Server: When primary server fails, backup server resumes service. (active-passive)
  Distributed Processing: Distributes load over multiple servers. If server fails, remaining server(s) attempt to carry the full load (active-active cluster)
Storage Array: disk network supports remote backups, data sharing and data migration between different geographical locations

## Slide 27
RAID – Data Mirroring
ABCD
ABCD
AB
CD
Parity
AB
CD
RAID 0: Striping
RAID 1: Mirroring
Higher Level RAID: Striping & Redundancy
Redundant Array of Independent Disks
Notes: RAID 1 and above use redundancy, offering survival if a single disk fails.
27

## Slide 28: Storage Arrays
Storage Arrays may be:
Synchronous: Write completes when both sites confirm
Asynchronous: Replication occurs on a periodic, scheduled basis
Adaptive: Alternate between synchronous and asynchronous, depending on load
Software solutions: Replication occurs via software
Hardware solution: Replication occurs in hardware

## Slide 29: Big Data
Reliable, quick-access distributed DBs
Large amounts of data: terabyte/petabyte
Data replication
Automatically allocates data across multiple servers
Horizontal scalability: Simply add commodity servers
NoSQL servers: support a subset of SQL queries
May have limited confidentiality/integrity security features: must configure well

## Slide 30: Big Data
Hadoop
Apache distributed DB
Replicates, distributes data across multiple locations
MapReduce accesses requests across nodes/clusters as <key, value> requests
Reconfigures itself after failure
Standard hardware
MongoDB
Free document-oriented DB
used by MTV, Forbes, NY Times, Craigslist.
Orders groups of items into ‘collections’, retrieved by collection name
Commands include: insert(), save(), find(), update(), remove(), drop()
passes name=value args; can include comparisons
Fast; no complex data joins

## Slide 31: Cloud Service Models
Data (DaaS): Retrieve DB data from cloud provider
Software (SaaS): Provider runs own applications on cloud infrastructure.
Platform (PaaS): Consumer provides apps; provider provides system and development environment.
Infrastructure (laaS): Provides customers access to processing, storage, networks or other fundamental resources
SAAS
Cloud’s Software & Apps
PAAS
Your Application
E.g., Cloud’s DB, OS
IAAS
Cloud’s Computer
OS, networks
DAAS
Retrieve Cloud Data
Notes: Some things to consider:
Infrastructure:
Creates options if the cloud provider has a service interruption
Platform:
Availability
Confidentiality
If a security breach happens, privacy and legal liability
Data ownerships
Concern around e-discovery
Software:
Who owns the application
Where are the applications locations
Source: CISM® Review Manual 2012, © 2011, ISACA. All rights reserved. Used by permission. Exhibit 3.15

## Slide 32
Network Disaster Recovery
Redundancy
Includes:
Routing protocols
Fail-over
Multiple paths
Alternative Routing
>1 Medium or
> 1 network provider
Diverse Routing
Multiple paths,
1 medium type
Last-mile circuit protection
E.g., Local: microwave & cable
Long-haul network diversity
Redundant network providers
Voice Recovery
Voice communication backup
Notes: With redundancy, if one part fails, another part can take over.
Diverse Routing means one provider, but multiple routes (or paths).
Alternate Routing means multiple network providers, and/or multiple mediums (fiber, cable, radio)
Long-haul = Long Distance
Last-mile circuit = from office (or home) to service provider (local telco or cable company)
32

## Slide 33: RPO Controls
Work
Book
Business Process | RPO (Hours) | Data File and System/Directory Location | Special Treatment (Backup period, RAID, File Retention Strategies)
Teaching | 1 day | Faculty servers & computers | Faculty servers are backed up daily. Recommendation: When faculty uses PCs, faculty should save files on both PC and server. Classes are cancelled during extreme weather (for student protection).
Learning Mgmt | 0 hours | Cloud | Cloud system with mirrored redundancy
Registration | 0 hours | Registration DB Data Center | RAID provides disk redundancy. Server is backed up daily, stored offsite. Use mobile site for outages > 3 days.
Personnel | 2 hours | Personnel DB Data Center | RAID provides disk redundancy. Server is backed up daily, stored offsite. Use mobile site for outages > 3 days.
Web Service | 1 week | Data Center | Server is backed up weekly, stored offsite

## Slide 34: Business Continuity Summary for Critical/Vital Classes Workbook
Criticality Class (Critical or Vital) | Business Process | Incident or Problematic Event(s) | Procedure for Handling (Name the procedure if extended, Describe steps if short)
Vital | Registration | Computer Failure | DB Backup Procedure DB Recovery Procedure - Registration Mobile Site Plan
Critical | Teaching | Computer Failure | Cloud Services with mirrored redundancy

## Slide 35
Business Continuity Process
Perform Business Impact Analysis
Prioritize services to support critical business processes
Determine alternate processing modes for critical and vital services
Develop the Disaster Recovery plan for IS systems recovery
Develop BCP for business operations recovery and continuation
Test the plans
Maintain plans
Notes: 35
Some business processes are more important than other business processes. Sales is more important in the short term than engineering, and possibly more than the factory. That is why business processes are prioritized.
35

## Slide 36: Data Storage Protection
Backup
Storage

## Slide 37
Backup Labeling
Data Set Name = Master Inventory
Volume Serial # = 24.1.24.10
Date Created = Jan 24, 2024
Accounting Period = 3W-1Q-2024
Offsite Storage Bin # = Jan 2024
Backup could be disk…

## Slide 38
Incremental & Differential Backups
Daily Events | Full | Differential | Incremental
Monday: Full Backup | Monday | Monday | Monday
Tuesday: A Changes | Tuesday | Saves A | Saves A
Wednesday: B Changes | Wed’day | Saves A + B | Saves B
Thursday: C Changes | Thursday | Saves A+B+C | Saves C
Friday: Full Backup | Friday | Friday | Friday
If a failure occurs on Thursday, what needs to be reloaded for Full, Differential, Incremental?
Which methods take longer to backup? To reload?
Notes: 38
From All-in-One CISSP Exam Guide, 4th Edition, Shon Harris, McGraw Hill Osborne

## Slide 39
Backup Rotation: Grandfather/Father/Son
Grandfather
Dec ‘23 Jan ‘24 Feb ‘24 Mar ‘24 Apr ‘24
April 30 May 6 May 13 May 20
May 21 May 22 May 23 May 24 May 25 May 26 May 27
Father
Son
graduates
Frequency of backup = daily, 3 generations
Notes: Son: Disks rotate: 7 disks are continually rotated.
Father: 4-5 tapes (or disks) are rotated, with the oldest always being overlaid.
Grandfather: 12 or 24 tapes can maintain a monthly history for 1 or 2 years.

## Slide 40
Backup & Offsite Library
Backups are kept off-site (1 or more)
Off-site is sufficiently far away (disaster-redundant)
Backups are encrypted
Library is equally secure as main site; unlabeled
Library has constant environmental control (humidity-, temperature-controlled, UPS, smoke/water detectors, fire extinguishers)
Detailed inventory of storage media & files is maintained

## Slide 41: Disaster Recovery: Execution & Testing
Step 4: Preparing for IT Disaster Recovery
Step 1: Define Threats Resulting in Business Disruption (BIA)
Step 3: Plan for IT Recovery (Business Continuity)
Step 2: Define Recovery Objectives (BIA)

## Slide 42
An Incident Occurs…
Security officer
declares disaster
Call Security
Officer (SO)
or committee
member
SO follows
pre-established
protocol
Emergency Response
Team: Human life:
First concern
Phone tree notifies
relevant participants
IT follows Disaster
Recovery Plan
Public relations
interfaces with media
(everyone else quiet)
Mgmt, legal
council act
Notes: This activity diagram shows that some events can happen in parallel, including all the tasks to the right. In some cases there is a security committee, and anyone on the committee can decide a disaster has occurred.
There is also a procedure that includes the criteria for making the declaration in the first place. Once that determination is made, disaster protocols can begin.
42

## Slide 43: DRP Contents
Preincident readiness
How to declare a disaster
Evacuation procedures
Identifying persons responsible, contact information
  IRT, S/W-H/W vendors, insurance, recovery facilities, suppliers, offsite media, human relations, law enforcement (for serious security threat)
Step-by-step procedures
Required resources for recovery & continued operations
People should work from the plan and not from memory!

## Slide 44
Concerns for a BCP/DR Plan
Evacuation plan: People’s lives always take first priority
Disaster declaration: Who, how, for what?
Responsibility: Who covers necessary disaster recovery functions
Procedures for Disaster Recovery
Procedures for Alternate Mode operation
  Resource Allocation: During recovery & continued operation
Copies of the plan should be off-site
Notes: People’s lives take FIRST PRIORITY is often a question on a CISA or CISM exam.
44

## Slide 45
Disaster Responsibilities
General Business (BCP)
First responder: Evacuation, fire, health…
Damage Assessment
Emergency Mgmt
Legal Affairs
Transportation/Relocation/Coordination (people, equipment)
Supplies
Salvage
Training
IT-Specific Functions (DRP)
Software
Application
Emergency operations
Network recovery
Hardware
Database/Data Entry
Information Security
Contact information is important!
Notes: Each of these potentially need addressing
45

## Slide 46: Contact Information
General Business Needs
first responder numbers for fire, police, and emergency health;
business recovery: legal, supplies, damage assessment, and salvage;
people assistance: training and transportation/relocation (for people and/or equipment).
Technology Needs
technology needs include:
incident response team,
software/hardware vendors,
insurance,
recovery facilities,
suppliers, and offsite media.
Contact information should include name, address, email and phone information.

## Slide 47
BCP Documents
Focus: | Business | IT
Event Recovery | Business Recovery Plan Recover business after a disaster | Disaster Recovery Plan Procedures to recover at alternate site
 | Occupant Emergency Plan: Protect life and assets during physical threat | IT Contingency Plan: Recovers major application or system
 | Crisis Communication Plan: Provide status reports to public and personnel | Cyber Incident Response Plan: Malicious cyber incident
Business Continuity | Business Continuity Plan | 
 | Continuity of Operations Plan Longer duration outages | 
Notes: Here Event Recovery is how to react or recover from the incident.
Business Continuity is how Alternate Processing mode should operate.
47

## Slide 48
Insurance
IPF & Equipment | Data & Media | Employee Damage
Business Interruption: Loss of profit due to IS interruption | Valuable Papers & Records: Covers cash value of lost/damaged paper & records | Fidelity Coverage: Loss from dishonest employees
Extra Expense: Extra cost of operation following IPF damage | Media Reconstruction Cost of reproduction of media | Errors & Omissions: Liability for error resulting in loss to client
IS Equipment & Facilities: Loss of IPF & equipment due to damage | Media Transportation Loss of data during xport | 
IPF = Information Processing Facility
Notes: 48
This is an optional slide for Computer Scientists, but may be useful for MIS or IT majors. It is also necessary information for CISA applicants.

## Slide 49
Disaster Recovery Test Execution
Always tested in this order:
Desk-Based Evaluation/Paper Test: A group steps through a paper procedure and mentally performs each step.
Preparedness Test: Part of the full test is performed. Different parts are tested regularly.
Full Operational Test: Simulation of a full disaster
For higher level tests that may cause problems… obtain management approval first!

## Slide 50: Business Continuity Test Types For Larger Organizations
Checklist Review: Reviews coverage of plan – are all important concerns covered?
Structured Walkthrough: Reviews all aspects of plan, often walking through different scenarios
Simulation Test: Execute plan based upon a specific scenario, without alternate site
Parallel Test: Bring up alternate off-site facility, without bringing down regular site
Full-Interruption: Move processing from regular site to alternate site.
Notes: Start with the simplest tests and proceed to the more complex tests.
From: All-in-One CISSP Exam Guide, 4th Edition, Shon Harris, McGraw Hill, 2008

## Slide 51: Testing Objectives
Main objective: existing plans will result in successful recovery of infrastructure & business processes
Also can:
Identify gaps or errors
Verify assumptions
Test time lines
Train and coordinate staff
Notes: Testing incident response can start with easier operations and proceed to more complex. Often part of the problem is the long time it takes or the errors which are made, which can be optimized by practice.

## Slide 52: Testing Procedures
Tests start simple and become more challenging with progress
The higher the level of test, the higher the management approval
Prepare staff:
People should work from incident response plan (not memory)
People should document all they do
Include an independent 3rd party (e.g. auditor) to observe test
Retain documentation for audit reviews
Develop test
objectives
Execute Test
Evaluate Test
Develop recommendations
to improve test effectiveness
Follow-Up to ensure
recommendations
implemented

## Slide 53: Test Stages
PreTest: Set the Stage
Set up equipment
Prepare staff
Test: Actual test
PostTest: Cleanup
Returning resources
Calculate metrics: Time required, % success rate in processing, ratio of successful transactions in Alternate mode vs. normal mode
Delete test data
Evaluate plan
Implement improvements
PreTest
Test
PostTest
Notes: When testing IR or DR, there are three stages for the testing.

## Slide 54: MTBF = MTTF + MTTR
Mean Time to Repair (MTTR)
Mean Time Between Failure (MTBF)
Measure of availability:
5 9s = 99.999% of time working = 5 ½ minutes of failure per year.
works repair works repair works
1 day
84 days
Notes: Mean time means statistical average.

## Slide 55: Gap Analysis
Comparing Current Level with Desired Level
Which processes need to be improved?
Where is staff or equipment lacking?
Where does additional coordination need to occur?

## Slide 56
Auditing BCP
Includes:
Is BIA complete with RPO/RTO defined for all services?
Is the BCP in-line with business goals, effective, and current?
Is it clear who does what in the BCP and DRP?
Is everyone trained, competent, and happy with their jobs?
Is the DRP detailed, maintained, and tested?
Is the BCP and DRP consistent in their recovery coverage?
Are people listed in the BCP/phone tree current and do they have a copy of BC manual?
Are the backup/recovery procedures being followed?
Does the hot site have correct copies of all software?
Is the backup site maintained to expectations, and are the expectations effective?
Was the DRP test documented well, and was the DRP updated?

## Slide 57: Audit Trails

## Slide 58: Audit Trail
Audit trail tracks responsibility
  Who did what when?
  Periodic review will help to find excess-authority access, login successes & failures, and track fraud
Attackers often want to change the audit trail (to hide tracks)
Audit trail must be hard to change:
  Write-once devices
  Digital signatures
  Security & systems admins and managers may have READ-only access to log
Audit trail must be sensitive to privacy
  Personal information may be encrypted

## Slide 59: Audit Trail Tools
Audit Reduction: Filter important logs - eliminate unimportant logs
Attack/Signature Detection: A sequence of log events may signal an attack (e.g., 1000 login attempts)
Trend/ Variance-Detection: Notices changes from normal user or system behavior (e.g., login during night)

## Slide 60
Summary of BC Security Controls
Redundancy: RAID, Storage Area Networks, fault-tolerant server, distributed processing, big data
Backups: Full backup, incremental backup, differential backup
Networks: Diverse routing, alternative routing
Alternative Site: Mirrored site, hot site, warm site, cold site, cloud, reciprocal agreement, mobile site
Testing: checklist, structured walkthrough, simulation, parallel, full interruption
Insurance

## Slide 61
Question
The amount of data transactions that are allowed to be lost following a computer failure (i.e., duration of orphan data) is the:
Recovery Time Objective
Recovery Point Objective
Service Delivery Objective
Maximum Tolerable Outage
Notes: 2

## Slide 62
Question
When the RTO is large, this is associated with:
Critical applications
A speedy alternative recovery strategy
Sensitive or nonsensitive services
An extensive restoration plan
Notes: 62
3---Large RTOs mean the application can run manually with little problem for an extended length of time. This is associated with services classified as sensitive or nonsensitive.

## Slide 63
Question
When the RPO is very short, the best solution is:
Cold site
Data mirroring
A detailed and efficient Disaster Recovery Plan
An accurate Business Continuity Plan
Notes: 63
2---RPO requires recovery of data (gathered in the past) immediately. Therefore, the correct answer is data mirroring (or using redundant disks).

## Slide 64
Question
The FIRST thing that should be done when you discover an intruder has hacked into your computer system is to:
Disconnect the computer facilities from the computer network to hopefully disconnect the attacker
Power down the server to prevent further loss of confidentiality and data integrity.
Call the manager.
Follow the directions of the Incident Response Plan.
Notes: 4

## Slide 65
Question
During an audit of the business continuity plan, the finding of MOST concern is:
The phone tree has not been double-checked in 6 months
The Business Impact Analysis has not been updated this year
A test of the backup-recovery system is not performed regularly
The backup library site lacks a UPS
Notes: 65
3---The most critical asset for a company is its data. The backup-restore must be tested to ensure that this critical data is always available.

## Slide 66
Question
The first BCP test is the:
Fully operational test
Preparedness test
Security test
Desk-based paper test
Notes: 66
The Desk-based paper test is the first of the three tests, and is considered to be the first test to perform.

## Slide 67
Question
When a disaster occurs, the highest priority is:
Ensuring everyone is safe
Minimizing data loss by saving important data
Recovery of backup tapes
Calling a manager
Notes: 1

## Slide 68
Question
A documented process where one determines the most crucial IT operations from the business perspective
Business Continuity Plan
Disaster Recovery Plan
Restoration Plan
Business Impact Analysis
Notes: 4. Business Impact Analysis
68

## Slide 69: Question
The PRIMARY goal of the Post-Test is:
Write a report for audit purposes
Return to normal processing
Evaluate test effectiveness and update the response plan
Report on test to management
Notes: 3

## Slide 70: Question
A test that verifies that the alternate site successfully can process transactions is known as:
Structured walkthrough
Parallel test
Simulation test
Preparedness test
Notes: 2

## Slide 71: Question
Audit trails:
Should be modifiable only by security administrators
Should be difficult to change (e.g., write-once)
Should only save important logs, using log reduction
Should avoid encryption to ensure no loss and quick access
Notes: 2 is correct. 1 is not correct because security admins should not be able to change logs – no one should
3 Is not good if fraud is discovered and full logs are required
4: Encryption may be necessary with personal data

## Slide 72: Summary
The main issue with Business Continuity is AVAILABILITY:
How can an organization continue to operate without computers? BIA & BC
Which services should be prioritized? Criticality Classification
How much time/data can we afford to lose per service? RTO & RPO
How does IT recover? Disaster Recovery Plan
Techniques include:
Cloud Recovery Sites Redundancy/High Availability
Big Data Backup & Recovery
Ensuring success:
Planning Testing Measuring Insurance

## Slide 73: Health First Case Study
Business Impact Analysis & Business Continuity
Jamie Ramon MD
Doctor
Chris Ramon RD
Dietician
Terry
Licensed
Practicing Nurse
Pat
Software Consultant

## Slide 74: Step 1: Define Threats Resulting in Business Disruption
Key questions:
Which business processes are of strategic importance?
What disasters could occur?
What impact would they have on the organization financially? Legally? On human life? On reputation?
Impact Classification
Negligible: No significant cost or damage
Minor: A non-negligible event with no material or financial impact on the business
Major: Impacts one or more departments and may impact outside clients
Crisis: Has a major financial impact on the business
Notes: There will be more threat ideas in the Workbook

## Slide 75: Step 1: Define Threats Resulting in Business Disruption
Problematic Event or Incident | Affected Business Process(es) | Impact Classification & Effect on finances, legal liability, human life, reputation
Fire |  | 
Hacking incident |  | 
Network Unavailable (E.g., ISP problem) |  | 
Social engineering, fraud |  | 
Server Failure (E.g., Disk) |  | 
Power Failure |  | 
Notes: There will be more threat ideas in the Workbook

## Slide 76
1 1 1
Hour Day Week
Step 2: Define Recovery Objectives
Recovery Point Objective
Recovery Time Objective
Interruption
Business Process | Recovery Time Objective (Hours) | Recovery Point Objective (Hours) | Critical Resources (Computer, people, peripherals) | Special Notes (Unusual treatment at specific times, unusual risk conditions)
1 1 1
Week Day Hour
Notes: 76
A note here is that sometimes the RTO varies by day of year (scheduling system for a school is most important the week before and first week of school.) Also, management and people involved with a database may disagree, in which case management sees the larger picture, and their opinion is most important. However a risk manager may consider both perspectives.

## Slide 77: Business Continuity
Step 3: Attaining Recovery Point Objective (RPO)
Step 4: Attaining Recovery Time Objective (RTO)
Classification (Critical or Vital) | Business Process | Problem Event(s) or Incident | Procedure for Handling (Section 5)
Notes: The full procedure for handling would be documented in section 5 of the workbook.

## Slide 78: Criticality Classification
Critical: Cannot be performed manually. Tolerance to interruption is very low
Vital: Can be performed manually for very short time
Sensitive: Can be performed manually for a period of time, but may cost more in staff
Non-sensitive: Can be performed manually for an extended period of time with little additional cost and minimal recovery effort